LEWIS UPSHUR LEPC RISK/VULNERABILITY ANALYSIS

FACILITY: JF ALLEN BLOCK PLANT

| Location: | Route 33 West (near Red Rock Road on Route 151) Buckhannon, WV 26201 |
| --- | --- |
| Owner: | J.F. Allen Company Route 33 West on Route 151 Buckhannon, WV 26201 (304) 472-9586 |
| Emer. Contact: | Mr. Wayne Franklin |
| Daytime Phone: | (304) 472-8890 |
| 24-hr. Phone: | (304) 614-3146 |
| First Due FD: | Buckhannon Fire Department |
| Daytime Phone: | 472-2868 |
| 24-hr. Phone: | 911 |
| History of Events: | None to report |
| Material(s): | #2 Diesel Fuel (click) Iron Oxide Pigment Portland Cement (click) |
| Lat./Long.: | 39.00719 / -80.27864 |
| Additional Links: | Site Map (click) Initial Isolation Distances (click) |

DETAILS – #2 DIESEL FUEL

| GENERAL INFORMATION |  |  |
| --- | --- | --- |
| Location | Tanks on southwest portion of lot |  |
| Quantity | 10,000 – 99,999 lbs |  |
| Properties | A straw yellow to dark colored liquid with a petroleum-like odor. Flammable and easily ignited by heat, sparks, or flames. Vapor explosion hazard indoors. Vapors may travel to ignition source and flash back. Runoff into sewer may create fire or explosion hazard. Containers may explode when heated. Inhalation and contact may irritate or burn skin and eyes. Vapors may cause dizziness or suffocation. Fire may produce toxic, irritating, or corrosive gases. |  |
| USDOT ID Number | 1202 or 1993 |  |
| Isolation Distances | Small Spills* Initial Isolation: 150 ft Daytime Isolation: 0.2 mi Nighttime Isolation: 0.8 mi | Large Spills** Initial Isolation: 1,000 ft Daytime Isolation: 0.5 mi Nighttime Isolation: 1.5 mi |
| * Small Spill – A leak from a small package or a small leak from a large package ** Large Spill – A large leak from a large package or leaks from many small packages |  |  |
| VULNERABILITY ANALYSIS |  |  |
| Susceptible Private/ Public Property | Highways, Smitty’s Suzuki, car wash facility, Way of Holiness Church, JF Allen facilities and equipment, residences. |  |
| Susceptible Environment | Terrestrial life, low-lying drainage areas along US 33. |  |
| HAZARD ANALYSIS |  |  |
| Probability | Low, no prior incidents. |  |
| Exposure to People/ Property | Persons in surrounding area may fall victim to irritated or burnt eyes and skin, dizziness and/or suffocation from inhalation of vapors or contact. If corrosive gases are given off during a fire, equipment, vehicles, etc. may be susceptible to corrosion. |  |
| Exposure to Environment | Runoff from fire control or dilution water may cause pollution. Vapors may cause suffocation of fauna. |  |
| Probability of Multiple Emergencies | High |  |
| Unusual Conditions of Environment | None known. |  |

DETAILS – IRON OXIDE PIGMENT

| GENERAL INFORMATION |  |  |
| --- | --- | --- |
| Location | Bags stored inside building |  |
| Quantity | 1,000 – 9,999 lbs |  |
| Properties | Solid, reddish-brown powder. May cause irritation of respiratory tract, skin, and/or eyes. Spontaneously combustible material; may ignite upon contact with moist air or moisture. |  |
| USDOT ID Number | 1376 (Iron Oxide, Spent) |  |
| Isolation Distances | Small Spills* Initial Isolation: 150 ft Daytime Isolation: 0.1 mi Nighttime Isolation: 0.3 mi | Large Spills** Initial Isolation: 300 ft Daytime Isolation: 0.5 mi Nighttime Isolation: 1.5 mi |
| * Small Spill – A leak from a small package or a small leak from a large package ** Large Spill – A large leak from a large package or leaks from many small packages |  |  |
| VULNERABILITY ANALYSIS |  |  |
| Susceptible Private/ Public Property | Highways, Way of Holiness Church, JF Allen facilities and equipment, residence. |  |
| Susceptible Environment | Terrestrial life, low-lying drainage areas along US 33. |  |
| HAZARD ANALYSIS |  |  |
| Probability | Low, no prior incidents. |  |
| Exposure to People/ Property | If corrosive gases are given off during a fire, equipment, vehicles, etc. may be susceptible to corrosion. |  |
| Exposure to Environment | Runoff from fire control or dilution water may cause pollution. Vapors may cause suffocation of fauna. |  |
| Probability of Multiple Emergencies | High |  |
| Unusual Conditions of Environment | None known. |  |

DETAILS – PORTLAND CEMENT

| GENERAL INFORMATION |  |  |
| --- | --- | --- |
| Location | Silo inside building |  |
| Quantity | 100,000 – 999,999 lbs |  |
| Properties | Gray or white powder with no odor. |  |
| USDOT ID Number | N/A |  |
| Isolation Distances | Small Spills* Initial Isolation: 100 ft Daytime Isolation: 0.1 mi Nighttime Isolation: 0.1 mi | Large Spills** Initial Isolation: 200 ft Daytime Isolation: 0.4 mi Nighttime Isolation: 1.5 mi |
| * Small Spill – A leak from a small package or a small leak from a large package ** Large Spill – A large leak from a large package or leaks from many small packages |  |  |
| VULNERABILITY ANALYSIS |  |  |
| Susceptible Private/ Public Property | N/A |  |
| Susceptible Environment | N/A |  |
| HAZARD ANALYSIS |  |  |
| Probability | Low, no prior incidents. |  |
| Exposure to People/ Property | Dust can irritate eyes and upper respiratory tract. Wet cement may cause alkali burns to the skin. |  |
| Exposure to Environment | N/A |  |
| Probability of Multiple Emergencies | Low |  |
| Unusual Conditions of Environment | None known. |  |