LEWIS UPSHUR LEPC RISK/VULNERABILITY ANALYSIS

FACILITY: WESTON SOUTHERN STATES

| Location: | 22 Oak Street Buckhannon, WV 26201 |
| --- | --- |
| Owner: | Southern States Weston Coop, Inc. P. O. Box 26234 Richmond, VA 23260 |
| Emer. Contact: | Mr. Kevin Britton |
| Daytime Phone: | (304) 269-4300 |
| 24-hr. Phone: | (304) 269-2697 |
| First Due FD: | Weston Fire Department |
| Daytime Phone: | 269-2349 |
| 24-hr. Phone: | 911 |
| History of Events: | None to report |
| Material(s): | Calcium Hydroxide (click) |
| Lat./Long.: | 39.04718 / -80.4638 |
| Additional Links: | Site Map (click) Initial Isolation Distances (click) |

DETAILS – CALCIUM HYDROXIDE

| GENERAL INFORMATION |  |  |
| --- | --- | --- |
| Location | Fertilizer storage area of metal warehouse building. |  |
| Quantity | 1,000 – 9,999 lbs. (max. up to 10,000 – 99,999 lbs) |  |
| Properties | Odorless, white granules. Sink in water. |  |
| USDOT ID Number | N/A |  |
| Isolation Distances | Small Spills* Initial Isolation: 100 ft Daytime Isolation: 0.1 mi Nighttime Isolation: 0.1 mi | Large Spills** Initial Isolation: 200 ft Daytime Isolation: 0.4 mi Nighttime Isolation: 1.5 mi |
| * Small Spill – A leak from a small package or a small leak from a large package ** Large Spill – A large leak from a large package or leaks from many small packages |  |  |
| VULNERABILITY ANALYSIS |  |  |
| Susceptible Private/ Public Property | BP station, commercial structure to front, cemetery, residences. |  |
| Susceptible Environment | Cemetery, urban terrestrial life. |  |
| HAZARD ANALYSIS |  |  |
| Probability | Low, no prior incidents. |  |
| Exposure to People/ Property | Dust irritates eyes, nose, and throat. |  |
| Exposure to Environment | Water soluble. Heat generated by hydrolysis may be large. |  |
| Probability of Multiple Emergencies | Low |  |
| Unusual Conditions of Environment | None known. |  |